## Sheet 1
ETAGE | Au-dessus/en-dessous | Room | Length (m) | Width (m) | Surface (m2) | Hight (m) | Volume (m3) | Surface with glass (m2) | Type of chassis | Type of window | Heated | average hours per week (winter) | Tmin | Tmax | Type of Production | Type of emittors
Ground-floor | first floor above/ basement below | Entrance hall | 8.75 | 1.7 | 14.875 | 3.75 | 55.7812 |  |  |  | very little | 12 | 6°C | 16°C | CC Gas | Radiators
|  | Salon | 4.5 | 4 | 18 | 3.75 | 67.5 | 3.75 | PVC | Double glazing | little | 4 | 14°C | 22°C | CC Gas | Radiators
|  | Dining room | 4.8 | 4 | 19.2 | 3.75 | 72 |  |  |  | little | 4 | 14°C | 22°C | CC Gas | Radiators
|  | Cabinet | 6 | 3.7 | 22.2 | 3 | 66.6 | 6 | Wood | Double glazing | Very little |  | 6°C | 20°C | CC Gas | Radiators
| first floor above/ no basement below | Small Salon | 4.8 | 3 | 14.4 | 2.6 | 37.44 |  |  |  | A lot | 168 | 18°C | 22°C | Wood stove
|  | Kitchen | 4.6 | 3 | 13.8 | 2.6 | 35.88 | 2.25 | PVC (60%) and wood (40%) | Double glazing (60%) and high performance glazing (40%) | A lot | 168 | 18°C | 22°C | Wood stove
|  | Toilet 1 | 1.5 | 1 | 1.5 | 2.6 | 3.9 | 0.12 | Wood |  | A lot | 168 | 18°C | 22°C | Wood stove
|  | Laundry | 4 | 3 | 12 | 2.6 | 31.2 | 4.5 | None | Glasscube | little |  | 14°C | 16°C
| no first floor above/ no basement below | Offie | 4.8 | 3.3 | 15.84 | 3.6 | 57.024 | 16.25 | Wood | high performance glazing (80%), Single glazing (20%) | A lot | 168 | 18°C | 22°C | Wood stove
|  | Small entrance hall | 2 | 2 | 4 | 2.3 | 9.2 | 0.24 | Wood | Double glazing | Very little |  | 6°C | 16°C | CC Gas | Radiators
|  | Toilet 2 | 1.1 | 0.9 | 0.99 | 3 | 2.97 |  |  |  | Very little |  | 6°C | 20°C | CC Gas | Radiators
|  | Toilet 3 | 2 | 0.9 | 1.8 | 3 | 5.4 |  |  |  | Very little |  | 6°C | 20°C | CC Gas | Radiators
|  | Waiting room | 6 | 3 | 18 | 2.3 | 41.4 | 0.6 | Wood | Double glazing | Very little |  | 6°C | 20°C | CC Gas | Radiators
first floor | no second floor above/roof non or poor isolated | Chambre 1 | 4.5 | 3 | 13.5 | 2.4 | 32.4 | 1.5 | PVC | Double glazing | medium | 56 | 14°C | 16°C | CC Gas | Radiators
|  | Salle de Bain | 3.7 | 3 | 11.1 | 2.4 | 26.64 | 1.5 | PVC | Double glazing | medium | 14 | 14°C | 22°C | CC Gas and/or Elec. | Radiators
|  | Atelier stockage | 5.9 | 3.7 | 21.83 | 2.6 | 56.758 | 3 | Wood | Single glazing | Very little |  | 14°C | 20°C | CC Gas | Radiators
|  | Cage d'escalier | 4.8 | 1.7 | 8.16 | 3.4 | 27.744 |  |  |  | No |  | 14°C | 16°C
|  | Dressing | 4 | 3 | 12 | 2 | 24 | 0.6 | Wood | Double high performance glazing | No
| second floor above | Atelier 1 | 4.3 | 5.8 | 24.94 | 3.4 | 84.796 | 5 | PVC | Double glazing | little | 12 | 14°C | 22°C | CC Gas and/or Elec. | Radiators
|  | Atelier 2 | 4.8 | 3.9 | 18.72 | 3.4 | 63.648 | 3 | PVC | Double glazing | little | 12 | 14°C | 22°C | CC Gas and/or Elec. | Radiators
second floor | roof not isolated | Chambre 2 | 4.3 | 1.7 | 7.31 | 3 | 21.93 | 1 | PVC | Double glazing | Anti-gel |  | 0°C | 6°C | CC Gas | Radiators
|  | Chambre 3 | 2.5 | 3 | 7.5 | 2.4 | 18 | 1 | PVC | Double glazing | Anti-gel |  | 0°C | 6°C | CC Gas | Radiators
|  | Grenier | 6.4 | 3.9 | 24.96 | 5 | 124.8 |  |  |  | No
|  | Grenier Mezzanine 1 | 2.5 | 5.8 | 14.5 | 2.6 | 37.7 |  |  |  | No
|  | Grenier Mezzanine 2 | 4.8 | 1.7 | 8.16 | 3 | 24.48 |  |  |  | No
|  | Cage d'escalier | 4.8 | 1.7 | 8.16 | 2 | 16.32 | 1.5 | PVC | Double | No
TOTAL (WITHOUT GARAGE AND BASEMENT) |  |  |  |  | 337.445 |  | 1045.5113
Basement | with ground floor | Basement 1 | 4.3 | 1.6 | 6.88 | 1.8 | 12.384 |  |  |  | No
|  | Basement with cistern | 4.5 | 4 | 18 | 1.8 | 32.4 |  |  |  | No
|  | cellar | 3.5 | 2 | 7 | 1.8 | 12.6 |  |  |  | No
|  | Basement 2 | 3.5 | 2 | 7 | 1.8 | 12.6 |  |  |  | No
|  | Basement with boiler | 3 | 3.7 | 11.1 | 1.8 | 19.98 |  |  |  | No
|  | Basement 3 | 3 | 3.7 | 11.1 | 1.8 | 19.98 |  |  |  | No
Garage | Garage | Double garage | 10 | 3 | 30 | 2.5 | 75 |  |  |  | No
TOTAL (WITH GARAGE AND BASEMENT) |  |  |  |  | 428.525 |  | 1230.4552